| University of Management & Technology School of Science & Technology Department of Electrical Engineering |
| --- |
| EE416 Instrumentation and Measurements |
| Lecture Schedule | As per timetable | Semester | Fall 2012 |
| Pre-requisite | NS-125 Applied Physics | Credit Hours | 3 |
| Instructor(s) | Syed Mohsin Ali, section A Fahad Ali, section B Khan M. Nazir, section C,D M. Arif Saeed ,section E | Contact | syed.mohsin@umt.rdu.pk fahad.ali@umt.edu.pk Khan.nazir@umt.edu.pk arif.saeed@umt.edu.pk |
| Office | S3/36 | Office Hours | See office door |
| Teaching Assistant | None | Contact | N/A |
| Course Description | The course will cover; Precision measurements terminologies including resolution, sensitivity, accuracy, and uncertainty; engineering units and standards; principles of different measurement techniques; instruments for measurement of electrical properties, pressure, temperature, position, velocity, flow rates (mass and volume) and concentration; systems for signal processing and signal transmission; modern instrumentation techniques; static and dynamic responses of instrumentation and signal conditioning; basic data manipulation skills using personal computers and graphs; data acquisition systems; principles of operation, construction and working of different analog and digital meters, oscilloscope, recording instruments, signal generators, transducers, and other electrical and non-electrical instruments; types of bridges for measurement of resistance, inductance, and capacitance; power and energy meters; high-voltage measurements. The course directly contributes to objectives a, d, e and f of the HEC Electrical Engineering Curriculum. |
| Expected Outcomes | Upon completion of this course, students will: Have good understanding of instrumentation and measurements. Have familiarity with state of the art technologies in process control measurements. Understand the principles and methodologies of electrical, mechanical and optical parameters. Become familiar with different test instruments. The course strongly supports expected outcomes a, b, d, g and i of the HEC Electrical Engineering Curriculum. |
| Textbook(s) | Recommended Text: Electronic Instrumentation and Measurement Techniques, W.D. Cooper & A.D. Helfrical. Process Control Instrumentation Technology Eighth Edition by Curtis Johnson. Reference: Measurements and Instrumentation Principles by Alan S Morris A course in Electrical Measurements and Instrumentation by J.B Gupta |
| Grading Policy | Assignments & Quizzes: 20% Midterm: 20% Lab:20% Final Exam: 40% |

Course Schedule

| Lecture | Topics | Textbook (TB) / Reference (Ref) Readings |
| --- | --- | --- |
| 1-2 | Introduction, Characteristics of Instruments and Measurement Systems, | TB1:Ch1 |
| 3-4 | Errors in Measurement | TB1:Ch 1 |
| 5-6 | Units and Dimensions, Dimensional Analysis, Standards of Measurements, Principles of Different Measurement Techniques | TB1:Ch 2,3 |
| 7-8 | Classification of measuring Instruments. Principles of Operation, construction and working of different analog meters, Voltmeter, Ammeter. | TB1: Ch 4 |
| 9-10 | Ohmmeter, Multi-meter meter , Megger, Calibration of DC instruments . | TB1: Ch 4 |
| 11-12 | AC Indicating Instruments, Thermo instruments. | TB1:Ch 4 |
| 13-14 | Electrodynamometers type Watt meters, Watt hour meters, Power factor meters, Instrument Transformers, Potentiometer, | TB1:Ch 4 |
| 15-16 | Types of bridges for measurement of resistance, inductance and capacitance. Mid Term Exam | TB1:Ch 5 |
| 17-18 | Electronic Instruments, Principle of operation, construction and working of digital meters, Ramp type, Dual slop, Successive approximation voltmeters. Digital meter resolution | TB1:Ch 6 Internet |
| 19-20 | Principle of operation, construction and working of oscilloscope, recording instruments, signal generators. | Internet |
| 21-22 | Analog signal conditioning, RC Filters Use of Op-amp for signal conditioning | TB2: Ch2 TB2: Ch2 |
| 23-24 | Use of Op-amp for signal conditioning | TB2: Ch2 |
| 25-26 | Digital Signal Conditioning, DAC, ADC. Data acquisition systems | TB2: Ch3 |
| 27-28 | Sensors(Thermal, optical, pressure, temperature, position, velocity, flow rates) | TB2: Ch4,5,6 |
| 29-30 | High-voltage measurements Final Term Exam | internet |